|  |
| --- |
| Table 7 Fish & Shellfish Harvesting Use Bacteria Criteria in Fresh Water |

|  |  |
| --- | --- |
| **Category** | **Bacteria Indicator** |
| Fish & Shellfish Harvesting Use | Total coliform organism levels must not exceed a geometric mean value of 70 colonies/100mL, with not more than 10 percent of all samples (or any single sample when less than ten samples points exist) obtained for calculating the geometric mean value exceeding 230 colonies/100mL; or, fecal coliform organism levels must not exceed a geometric mean value of 14 colonies/100mL, with not more than 10 percent of all samples (or any single sample when less than ten samples points exist) obtained for calculating the geometric mean value exceeding 43 colonies/100mL. A minimum of 2 samples shall be collected annually and a minimum of the most recent 15 samples collected shall be used to calculate the geometric mean. Analysis shall be by the 5-tube decimal dilution test or equivalent. |

|  |
| --- |
| Table 13 Fish & Shellfish Harvesting Use Bacteria Criteria in Marine Water |
| **Category** | **Bacteria Indicator** |
| Fish & Shellfish Harvesting Use | Total coliform organism levels must not exceed a geometric mean value of 70 colonies/100mL, with not more than 10 percent of all samples (or any single sample when less than ten samples points exist) obtained for calculating the geometric mean value exceeding 230 colonies/100mL; or, fecal coliform organism levels must not exceed a geometric mean value of 14 colonies/100mL, with not more than 10 percent of all samples (or any single sample when less than ten samples points exist) obtained for calculating the geometric mean value exceeding 43 colonies/100mL. A minimum of 2 samples shall be collected annually and a minimum of the most recent 15 samples collected shall be used to calculate the geometric mean. Analysis shall be by the 5-tube decimal dilution test or equivalent. |